## Parameter Selection
Choose Panel | - | Instructions
Choose Coverage | Recommended | 1. Choose a Pillar panel from the drop down list.
Recommended Coverage |  | 2. Choose whether you would like to use the recommended per-sample coverage, or whether you'd like to input a custom coverage amount.
Input Custom Coverage |  | 3. Choose an Illumina sequencer: MiniSeq, MiSeq, or NextSeq
On-Target Mapping Rate | 90% | 4. Choose a flowcell. Only the flowcells compatible with the sequencer chosen will available for selection in the drop-down menu.
Choose Sequencer | NextSeq | 5. The calculated max theoretical batch size is automatically populated based on your selections in the previous 4 steps.
Choose Flow Cell | NextSeq Mid Output
Calculated Max Theoretical Batch Size
Note: due to limitations in the number of unique indexes we have available, the default maximum number of samples that can be multiplexed is 96. This is true even when the calculated theoretical multiplexing capacity is actually much larger.
Note on C7: The default value is 90%.

## Lists (hidden)
Sequencers | Flowcell | Panel Names | Coverage | Platform | MiSeq | MiSeq | NextSeq
|  | - | Recommended | MiniSeq | MiniSeq Mid Output | MiSeq Nano | NextSeq Mid Output
MiniSeq | MiniSeq Mid Output | oncoReveal™ Essential MPN Panel | Custom | MiSeq | MiniSeq High Output | MiSeq Micro | NextSeq High Output
MiSeq | MiniSeq High Output | oncoReveal™ Myeloid Panel |  | NextSeq |  | MiSeq v2
NextSeq500/550 | MiSeq Nano | oncoReveal™ BRCA1 & BRCA2 plus CNV Panel |  |  |  | MiSeq v3
| MiSeq Micro | oncoReveal™ Dx Lung and Colon Cancer Assay (US IVD) |  |  |  | MiSeq Dx
| MiSeq v2 | oncoReveal™ Core LBx Panel
| MiSeq v3 | oncoReveal™ Multi-Cancer with CNV and RNA Fusion Panel
MiSeq Dx
NextSeq Mid Output
NextSeq High Output

## Reference Lookups (hidden)
Sequencer | Upper Limit of Output (PE reads M) | Panel Drop Down | Recommended Sequencer
- |  | -
MiniSeq Mid Output | 16 | oncoReveal™ Essential MPN Panel | MiSeq Nano, MiSeq Micro, MiSeq v2, MiSeq v3
MiniSeq High Output | 50 | oncoReveal™ Myeloid Panel | MiSeq v2, MiSeq v3, NextSeq Mid
MiSeq Nano | 2 | oncoReveal™ BRCA1 & BRCA2 plus CNV Panel | MiSeq Nano, MiSeq Micro, MiSeq v2, MiSeq v3, NextSeq Mid
MiSeq Micro | 8 | oncoReveal™ Dx Lung and Colon Cancer Assay (US IVD) | MiSeq Dx
MiSeq v2 | 30 | oncoReveal™ Core LBx Panel | MiSeq v3, NextSeq Mid, NextSeq High
MiSeq v3 | 50 | oncoReveal™ Multi-Cancer with CNV and RNA Fusion Panel | MiSeq Micro, MiSeq v2, MiSeq v3, NextSeq Mid
MiSeq Dx | 30
NextSeq Mid Output | 260
NextSeq High Output | 800

## Calculations (hidden)
Sequencer | Lower Limit (PE Reads) | Lower Limit of Output (output * on-target) | Upper Limit of Output (PE reads) | Upper Limit of Output (output * on-target) | Same Upper & Lower Limit?
-
MiniSeq Mid Output | 16000000 | 14400000 | 16000000 | 14400000 | TRUE
MiniSeq High Output | 25000000 | 22500000 | 50000000 | 45000000 | FALSE
MiSeq Nano | 2000000 | 1800000 | 2000000 | 1800000 | TRUE
MiSeq Micro | 8000000 | 7200000 | 8000000 | 7200000 | TRUE
MiSeq v2 | 24000000 | 21600000 | 30000000 | 27000000 | FALSE
MiSeq v3 | 44000000 | 39600000 | 50000000 | 45000000 | FALSE
MiSeq Dx | 30000000 | 27000000 | 30000000 | 27000000 | TRUE
NextSeq Mid Output | 260000000 | 234000000 | 260000000 | 234000000 | TRUE
NextSeq High Output | 800000000 | 720000000 | 800000000 | 720000000 | TRUE
On-Target Mapping Rate | 90%
Coverage | Recommended
Panel | -
Sequencer | NextSeq Mid Output
Libraries | #N/A
Sequencing Coverage Used | #N/A
Recommended Seq Coverage | #N/A |  |  |  | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
Panel | Recommended Coverage | Coverage Used in Calc | # Amplicons | Coverage x Amplicons | MiSeq Nano | MiSeq Micro | MiSeq v2 | MiSeq v3 | MiSeq Dx | NextSeq Mid Output | NextSeq High Output | MiniSeq Mid Output | MiniSeq High Output
oncoReveal™ BRCA1 & BRCA2 plus CNV Panel | 2500 | 2500 | 283 | 707500 | 1 | 5 | 19 | 31 | Not a valid sequencer option | 165 | 508 | 10 | 31
oncoReveal™ Essential MPN Panel | 2000 | 2000 | 7 | 14000 | 64 | 257 | 964 | 1607 | Not a valid sequencer option | 8357 | 25714 | 514 | 1607
oncoReveal™ Myeloid Panel | 2500 | 2500 | 766 | 1915000 | 0 | 1 | 7 | 11 | Not a valid sequencer option | 61 | 187 | 3 | 11
Panel | Recommended Coverage | "Coverage" Used in Calc | <Custom cvg> | Per Sample Read Depth | MiSeq Nano | MiSeq Micro | MiSeq v2 | MiSeq v3 | MiSeq Dx | NextSeq Mid Output | NextSeq High Output | MiniSeq Mid Output | MiniSeq High Output
oncoReveal™ Multi-Cancer with CNV and RNA Fusion Panel | 2000 | 2000 | 1 | 2050000 | 0 | 3 | 13 | 21 | Not a valid sequencer option | 114 | 351 | 7 | 21
oncoReveal™ Dx Lung and Colon Cancer Assay (US IVD) | 2000 | 2000 |  | 625000 | Not a valid sequencer option | Not a valid sequencer option | Not a valid sequencer option | Not a valid sequencer option | 48 | Not a valid sequencer option | Not a valid sequencer option | Not a valid sequencer option | Not a valid sequencer option
oncoReveal™ Core LBx Panel | 28000 | 28000 | 1 | 25000000 | 0 | 0 | 1 | 1 | Not a valid sequencer option | 9 | 28 | 0 | 1
Libs posted in Tab1
MiniSeq Mid Output | #N/A | #N/A
MiniSeq High Output | #N/A | #N/A
MiSeq Nano | #N/A | #N/A
MiSeq Micro | #N/A | #N/A
MiSeq v2 | #N/A | #N/A
MiSeq v3 | #N/A | #N/A
MiSeq Dx | #N/A | #N/A
NextSeq Mid Output | #N/A | #N/A
NextSeq High Output | #N/A | #N/A
The calculated max theoretical batch size corresponds to the maximum number of samples processed through each workflow. For example, the maximum number of samples that can be loaded onto a MiSeq Micro flowcell is 3 samples processed through the Multi-Cancer DNA workflow PLUS 3 samples processed through the Multi-Cancer RNA workflow.